LABORATORY REPORT NO. AE1100112/DL01713 A/07

| # WATER ANALYSIS REPORT |  |  |  |
| --- | --- | --- | --- |
| SAMPLING CONDITIONS: |  |  |  |
| Sample No. | : | DL 01713 A |  |
| Sample Identification | : | “A” |  |
| Sampling Date & Time | : | - |  |
| Sampling Point | : | - |  |
| Specific gravity at 60/60 ºF | : | 1.0108 |  |
| pH at 25 °C | : | 7.5 |  |
| Conductivity (s/cm) @ 75 ºF | : | 22100 |  |
| Resistivity @ 75 ºF (ohm-m) | : | 0.4525 |  |
| Total Dissolved Solids (mg/L) | : | 13595 |  |
| Alkalinity (as MgCaCO3/L) | : | - |  |
| Dissolved H2S (mg/L) | : | - |  |
| ## Cations | Mg/l |  | Meq/l |
| Sodium | 3946 |  | 171.56 |
| Calcium | 610 |  | 30.50 |
| Magnesium | 277 |  | 22.80 |
| Iron | 0.2 |  | 0.01 |
| Barium | ND |  | ND |
| Potassium | 107 |  | 2.74 |
| Strontium | 31 |  | 0.71 |
| ## Anions | Mg/l |  | ### Meq/l |
| Chloride | 7007 |  | 197.66 |
| Bicarbonate | 46 |  | 0.75 |
| Sulphate | 1401 |  | 29.19 |
| Carbonate | Zero |  | Zero |
| Hydroxide | Zero |  | Zero |

Ravi P

Laboratory Manager

LABORATORY REPORT NO. AE1100112/DL01713 B/07

| # WATER ANALYSIS REPORT |  |  |  |
| --- | --- | --- | --- |
| SAMPLING CONDITIONS: |  |  |  |
| Sample No. | : | DL 01713 B |  |
| Sample Identification | : | “B” |  |
| Sampling Date & Time | : | - |  |
| Sampling Point | : | - |  |
| Specific gravity at 60/60 ºF | : | 1.0112 |  |
| pH at 25 °C | : | 8.0 |  |
| Conductivity (s/cm) @ 75 ºF | : | 22400 |  |
| Resistivity @ 75 ºF (ohm-m) | : | 0.4464 |  |
| Total Dissolved Solids (mg/L) | : | 14564 |  |
| Alkalinity (as MgCaCO3/L) | : | - |  |
| Dissolved H2S (mg/L) | : | - |  |
| ## Cations | Mg/l |  | Meq/l |
| Sodium | 4110 |  | 178.71 |
| Calcium | 762 |  | 38.10 |
| Magnesium | 281 |  | 23.13 |
| Iron | <0.1 |  | <0.01 |
| Barium | ND |  | ND |
| Potassium | 106 |  | 2.72 |
| Strontium | 30 |  | 0.68 |
| ## Anions | Mg/l |  | ### Meq/l |
| Chloride | 7298 |  | 205.87 |
| Bicarbonate | 76 |  | 1.25 |
| Sulphate | 1706 |  | 35.54 |
| Carbonate | Zero |  | Zero |
| Hydroxide | Zero |  | Zero |

Ravi P

Laboratory Manager